## Slide 1
Sanitations Options for Improved and Sustainable Service Delivery
PHILLIP MAJEKE
Water Research Commission
Commercialisation Manager
11 September 2024

## Slide 2: CONTENTS
SANITATION CHALLENGES IN MPUMALANGA
DRIVERS FOR INNOVATIVE TECHNOLOGIES
TECHNOLOGY ACCELERATOR – SASTEP
SASTEP DEMONSTRATION PLATFORMS
SASTEP TECHNOLOGY PORTFOLIO
ALTERNATIVE SANITATION DELIVERY MODEL
SASTEP – STANDARDS APROACH TO IMPROVED SERVICE DELIVERY
PROCUREMENT OPTION FOR INNOVATIONS
TOOL DEVELOPED BY WRC TO ENHANCE NSS UPTAKE
KEY TAKEWAY MESSAGES

## Slide 3: SANITATION CHALLENGES IN MPUMALANGA
Mpumalanga is in the Top 4 Provinces with high % of No/Inappropriate sanitation (35%)
DWS NSIP 2023

## Slide 4: DRIVERS FOR INNOVATIVE SANITATION OPTIONS

## Slide 5: TECHNOLOGY ACCELERATOR - SASTEP
SASTEP is an innovative initiative by the Water Research Commission (WRC) aimed at bridging the gap between R&D and commercialization.
SASTEP focuses on innovative sanitation by matching commercial entities with late-stage technologies, funding field demonstrations, assisting in localization, commercialization, and industrialization pathways.
Programme is funded by DSI and BMGF
Non-Sewered Systems (Reinventing the toilet)
  Appliance design for households
  Modular systems for household, communal and commercial spaces
  Convenience of a flush
  Resource efficient toilets and toilet systems
  Systems designed for circularity (Full recycle systems (water), and Sludge valorization systems)
  Cost (Understand cradle to grave cost - Lifecycle cost)

## Slide 6: SASTEP DEMONSTRATION PLATFORMS
There are 16 existing and 12 upcoming demo sites as shown below:
Department of Basic Education - Sanitation Appropriate for Education (SAFE) Demonstration Platform
12 school demonstration sites (6 technologies)
DBE procured demonstrated innovations for 48 schools (35 –EC, 12-KZN & 1-LP) through open tender in 2023
First commercial sale of NGS system was in MP, launched in June 2023
NGS was bought by Bidvest (CSI) and donated to Ethembeni Primary School.
The school had a failing septic tank that was overflowing and posing health hazards to the learners and nearby community.
Project featured in the Policy and Budget Speech of the Mpumalanga Department of Public Works, Roads and Transport (DPWRT)
Informal settlement Demonstration Platform
Johannesburg Water | eThekwini Municipality | City of Cape Town
2 Sites (existing) 4 Sites (Upcoming) 5 Sites (Upcoming)
Rural Setting Demonstration Platform
Mopani District Municipality |Theewaterkloof Municipality
2 Sites (existing) 1 site (Upcoming)

## Slide 7: WATER EFFICIENT TOILETS SYSTEMS
They use less water (2-3L per flush) for flushing
Reuse greywater for flushing
Reduced volume of wastewater to be processed

## Slide 8: FULL RECYCLING TOILET SYSTEMS / NSS
NEWgenerator recycle toilet
Aquonic recycle toilet
Clear water recycle toilet
Dewdrop Nature-based Treatment System
Designed towards a standards-based approach for quality of product and trust in performance
ISO/SANS 30500
Recycles water (closed loop systems)
Provides waterborne sanitation solution
Can be set up off-grid
(No connection to water, sewer and electricity)

## Slide 9: RESOURCE RECOVERY AND CIRCULARITY (SLUDGE BENEFICIATION TECHNOLOGIES)
Sludge beneficiation Technologies
Nutrients Recovery from Urine
Batch System that produces Struvite fertilizer
Products: Biochar, Hydro char, Activated carbon, Soil conditioner, Building materials, Fertilizer

## Slide 10: ALTERNATIVE SANITATION SERVICE DELIVERY MODEL
TESTING USER PAID SANITATION SERVICE MODEL
Co-funded by WRC and Unilever Transform
Project to test user-paid model for delivering sanitation services
Project implemented in partnership with local waste collection /disposal company/SMMEs in eThekwini Metro
Collected waste to be valorised into saleable products
Project will target 500 household in an informal settlement where communal ablution facility exists (free basic services)
PROGRESS TO DATE
Strong demand from urban informal settlement residents
Mainly due to comfort, hygiene and safety (>100 sign ups in 6months)
Residents are willing and able to pay for a higher level of service (Currently paying R250-R350/month, 95% payment rate)
Demonstrates that user paid model can work in informal settlement context in South Africa

## Slide 11: SASTEP: A STANDARDS APPROACH FOR SAFE AND DIGNIFIED SANITATION SERVICES
Driving safety and dignity through aspirational designs
Driving quality services from service providers
Driving centralised sludge treatment (energy neutral and valorization)
Products: Biochar, Hydro char, Activated carbon, Soil conditioner, Building materials, Fertilizer

## Slide 12: PROCUMENT OPTIONS FOR INNOVATIONS
Procurement of Innovations will typically follow the procedure for limited bidding route due to limited suppliers in the market

## Slide 13: PROCUMENT OPTIONS FOR INNOVATIONS...
Item | Description | Challenge
A – Market Engagement | Expressions of Interest are used to obtain information for demonstration projects that meet specific criteria. This could be in the form of EoI, RFP or RFQ. | The full costs associated with the prototype may not be known at this stage. Operating risks are largely theoretical and the costs of mitigating these may not be included in the project costs.
B – Technology Demonstration | Technology demonstration projects that are used to confirm the performance of the innovations. The performance of the innovation can be confirmed by independent verification. | The identification and selection of suitable test sites and demonstration partners. Reliable independent data (flow rates, quality of effluent, etc) is not collected.
C – Competitive Bidding Process | Innovators respond to adverts issued by public sector institutions requesting proposals or quotations for solutions. | Evaluations may be cost based and does not include strategic considerations that innovations may provide. Implementation is more operational than strategic resulting in a preference for the status quo.

## Slide 14: PROCUMENT OPTIONS FOR INNOVATIONS...
Multi-stage bidding can be used to demonstrate innovations and procure at scale once the performance has been proven.
Performance criteria/quantities to be procured during the scale up process must be included in the Expression of Interest initially advertised.
SSP is not intended for all goods and services but rather those that are aligned to achieving procurement and strategic business goals.
This process ensures thorough planning, market research and business case development to support the selected procurement strategy.

## Slide 15: PROCUMENT OPTIONS FOR INNOVATIONS...
Multi-stage bidding example by eThekwini Metro (Left) and George Local Municipality (Right)

## Slide 16: PROCUMENT OPTIONS FOR INNOVATIONS...
Multi-stage bidding example by GAUTENG PARTNERSHIP FUND (GPF)

## Slide 17
Products/Tools/Guidelines | Brief description
Field-Testing Guideline | A document that provides standardised field-testing guideline, assessment and evaluation criteria for innovative technologies
SANS 30500/24521 Awareness and Training Material | A document that introduces SANS 30500 and SANS 24521, the process of certification and compliance, alignment of these standards with existing regulatory frameworks and the latest development South Africa and Worldwide
Selecting Sanitation Systems | A document providing a framework for understanding sanitation systems and suggests key criteria to consider in selection of systems
SaniSelect Decision Making Tool | An MS Excel tool created to assist decision makers in weighing different technology options along the sanitation value chain, based on the criteria considered in selection of sanitation systems
Writing a Sanitation Policy | A document providing some guidance on how municipalities can craft a sanitation policy
Procurement Processes for Alternative Sanitation Systems | A document that suggests various approaches to procuring alternative sanitation systems
Cost Comparison Tool for NSS vs Conventional Sanitation Systems | A tool for techno-economic cost modelling tool that can used to compare NSS and conventional sanitation solutions thus increasing sanitation service delivery options and effectiveness
TOOLS DEVELOPED BY WRC TO ENHANCE UPTAKE

## Slide 18
AWARENESS/TRAINING/CAPACITY BUILDING

## Slide 19
AWARENESS/TRAINING/CAPACITY BUILDING…

## Slide 20
AWARENESS/TRAINING/CAPACITY BUILDING…

## Slide 21
AWARENESS/TRAINING/CAPACITY BUILDING…

## Slide 22
Facilitation and Uptake
SASTEP was catalytic in the setup of WPO NSS-Subprogramme which will prepare NSS bankable projects for WSAs/Water Boards
PROJECT PREPARATION FOR NSS - DBSA/DWS/SALGA

## Slide 23: KEY TAKEAWAY MESSAGES
One type of solution is NOT the way forward
We also must provide options to people through by-laws that allow the industry to be municipal enabled, private sector and community driven to accelerate and improve service provision
These options seek to provide a better level of service
These options aims to protect the environment and save water
These options are seeking to beneficiate waste
These options provide a different service model that remove burden from the municipality/WSAs

## Slide 24
THANK YOU